## San Palo Budget
TIMBERLINE BUILD CO — PROJECT BUDGET
6963 San Palo Circle, Buena Park CA 90620 ¦ Rental Prep ¦ 7 Bed / 3 Bath / 2,668 SF ¦ Built 1955
LINE ITEM | COST (Internal) | MARKUP | CLIENT PRICE | NOTES
01 — FLOORING (LVP — excludes bedrooms & downstairs hallway ¦ ~1,900 SF)
LVP material — 1,900 SF @ $2.50/SF allowance | 4750 | pass-through | 4750 | Material at cost; client-selected
LVP installation — 1,900 SF @ $4.00/SF client price | 5429 | 40% | 7600 | Per owner direction on rate
Stair nosing & floor transition strips | 400 | 40% | 560
Stair tread replacement — est. 14 treads @ $100/tread client price | 1000 | 40% | 1400 | Verify stair count at site visit
▶ FLOORING SUBTOTAL | 11579 |  | 14310
02 — BATHROOM 1 (MASTER) — Full Remodel
Demo & haul-off | 1200 | 40% | 1680
Cement board & waterproofing (RedGuard) | 800 | 40% | 1120
Hot mop shower pan | 500 | 40% | 700
Tile labor (Jose) | 4000 | 40% | 5600
Tile material — allowance | 1500 | 40% | 2100 | Client-selected; allowance
Plumbing rough & finish | 1200 | 40% | 1680
Vanity cabinet — allowance | 1200 | 40% | 1680
Countertop — allowance | 800 | 40% | 1120
Fixtures allowance (faucet, hardware) | 600 | 40% | 840
Frameless glass shower enclosure | 2500 | 40% | 3500
GFCI outlets (code required) | 300 | 40% | 420
Exhaust fan replacement | 350 | 40% | 490
Toilet replacement (supply & install) | 500 | 40% | 700
Paint & touch-up | 400 | 40% | 560
▶ BATH 1 SUBTOTAL | 15850 |  | 22190
03 — BATHROOM 2 (SECONDARY) — Full Remodel
Demo & haul-off | 800 | 40% | 1120
Cement board & waterproofing | 600 | 40% | 840
Hot mop shower pan | 450 | 40% | 630
Tile labor (Jose) | 3000 | 40% | 4200
Tile material — allowance | 1300 | 40% | 1820
Plumbing rough & finish | 900 | 40% | 1260
Vanity cabinet — allowance | 800 | 40% | 1120
Countertop — allowance | 600 | 40% | 840
Fixtures allowance | 500 | 40% | 700
Frameless glass enclosure | 1800 | 40% | 2520
GFCI outlets | 200 | 40% | 280
Exhaust fan replacement | 250 | 40% | 350
Toilet replacement (supply & install) | 500 | 40% | 700
Paint & touch-up | 300 | 40% | 420
▶ BATH 2 SUBTOTAL | 12000 |  | 16800
04 — BATHROOM 3 (HALL) — Full Remodel
Demo & haul-off | 600 | 40% | 840
Cement board & waterproofing | 500 | 40% | 700
Hot mop shower pan | 400 | 40% | 560
Tile labor (Jose) | 2500 | 40% | 3500
Tile material — allowance | 1200 | 40% | 1680
Plumbing rough & finish | 800 | 40% | 1120
Vanity cabinet — allowance | 700 | 40% | 980
Countertop — allowance | 500 | 40% | 700
Fixtures allowance | 400 | 40% | 560
Frameless glass door | 1500 | 40% | 2100
GFCI outlets | 150 | 40% | 210
Exhaust fan replacement | 200 | 40% | 280
Toilet replacement (supply & install) | 500 | 40% | 700
Paint & touch-up | 275 | 40% | 385
▶ BATH 3 SUBTOTAL | 10225 |  | 14315
05 — DRYWALL & PAINT (Whole House — Extensive Repairs + Full Paint)
Demo — remove damaged/mold-compromised drywall sections | 1500 | 40% | 2100 | Incl. haul-off
Drywall materials (sheets, tape, mud, screws) | 3500 | 40% | 4900
Drywall hanging — full house patches + new sections | 3000 | 40% | 4200
Tape, mud & finishing (3-coat) | 2500 | 40% | 3500
Texture match (skip trowel / smooth per room) | 1500 | 40% | 2100
Interior paint labor — full house + ceilings + closets | 5500 | 40% | 7700
Paint materials & primer (Sherwin-Williams) | 1800 | 40% | 2520
▶ DRYWALL & PAINT SUBTOTAL | 19300 |  | 27020
06 — MOLD REMEDIATION ⚠️ (Active mold found in kitchen wall cavity — see photos)
Professional IEP testing & assessment | 500 | 40% | 700 | Required before work begins
Containment, HEPA vacuum & chemical remediation | 3500 | 40% | 4900 | Licensed remediator
Anti-microbial treatment (Concrobium/BioBan) | 500 | 40% | 700
Contaminated material certified disposal | 500 | 40% | 700
▶ MOLD REMEDIATION SUBTOTAL | 5000 |  | 7000
07 — WINDOWS & SLIDING DOORS (Milgard Dual-Pane Retrofit)
Window material — est. 18 units × $500 (Milgard) | 9000 | 40% | 12600 | Verify count at site visit
Window retrofit installation — 18 units × $400 | 7200 | 40% | 10080 | Incl. stucco patch per window
Sliding door material — 2 units × $1,200 | 2400 | 40% | 3360
Sliding door installation — 2 units × $750 | 1500 | 40% | 2100
▶ WINDOWS & DOORS SUBTOTAL | 20100 |  | 28140
08 — POPCORN CEILING SCRAPE + LIGHTING (Whole House)
Asbestos pre-test — REQUIRED (pre-1980 home) | 500 | 40% | 700 | Must test before any scraping
Popcorn ceiling scrape — full house ~2,668 SF | 4000 | 40% | 5600 | Wet scrape method
Remove & replace existing fixtures (~15 units) | 2000 | 40% | 2800
New recessed can lights — ~25 added throughout | 5000 | 40% | 7000 | Labor + fixtures incl.
Electrical — new circuits, switch boxes, dimmers | 2000 | 40% | 2800
Dimmer switches — select rooms | 600 | 40% | 840
▶ CEILINGS & LIGHTING SUBTOTAL | 14100 |  | 19740
09 — EXTERIOR — Upstairs Patio Iron Railing & Deck Repair
Custom iron railing — upstairs back patio | 2500 | 40% | 3500 | Per scope
Exterior deck board repair / replacement | 1800 | 40% | 2520
Deck stain & weatherproofing | 600 | 40% | 840
▶ EXTERIOR SUBTOTAL | 4900 |  | 6860
10 — ALL NEW TRIM (Baseboard, Door Casing, Window Casing — Full House)
Baseboard material — est. 650 LF | 1500 | 40% | 2100
Door casing material — est. 30 doors × 2 sides | 1200 | 40% | 1680
Window casing material — 18 windows | 1000 | 40% | 1400
Trim installation labor (full house) | 4500 | 40% | 6300
▶ TRIM SUBTOTAL | 8200 |  | 11480
11 — HVAC REGISTER & RETURN COVERS (New Throughout)
Supply register covers — est. 20 units | 500 | 40% | 700
Return air vent covers — est. 6 units | 300 | 40% | 420
Installation labor | 300 | 40% | 420
▶ HVAC COVERS SUBTOTAL | 1100 |  | 1540
12 — ELECTRICAL PANEL & SUBPANEL REBUILD
Main panel replacement — 200A | 3500 | 40% | 4900
Subpanel replacement / rebuild | 1500 | 40% | 2100
Licensed electrician labor | 4500 | 40% | 6300
Permit & inspection fee | 600 | 40% | 840
▶ ELECTRICAL PANEL SUBTOTAL | 10100 |  | 14140
13 — PLUMBING — External Drain Relocation
Drain video camera inspection | 500 | 40% | 700 | Required before underground work
Excavation — external drain area | 2000 | 40% | 2800
Relocate drain pipe underground | 2500 | 40% | 3500
Tap into main drain line | 1500 | 40% | 2100
Backfill, compact & surface restore | 600 | 40% | 840
Permit | 400 | 40% | 560
⚠️ Main drain line repair — TBD post-camera | 0 | TBD | 0 | Homeowner flagged issues — CO on discovery
▶ PLUMBING SUBTOTAL (excl. TBD drain) | 7500 |  | 10500
14 — ADDITIONAL ITEMS (Photo Findings + CA Rental Compliance)
Smoke / CO detectors — full house (CA law) | 600 | 40% | 840 | Required for rental
Fireplace surround tile — complete unfinished work | 800 | 40% | 1120 | Incomplete per photos
Garage — close open electrical boxes + cover plates | 400 | 40% | 560 | Safety item per photos
▶ ADDITIONAL ITEMS SUBTOTAL | 1800 |  | 2520
★ PROJECT TOTAL (excluding optional kitchen) | 141754 |  | 196555 | + TBD: Main drain line repair
Total Client Charge |  |  | 196555
Gary's Cut — 10% of (charge − pass-throughs $34,850) |  |  | 16170
Gross Margin (before Gary) |  |  | 54801
Justin Net Take-Home (after Gary) |  |  | 38631
✦ OPTIONAL ADD-ON — KITCHEN (Recommended — Not in Total)
Demo existing kitchen (cabinets, counters, appliances) | 2000 | 40% | 2800
New cabinets — shaker style, standard allowance | 12000 | 40% | 16800
Cabinet installation labor (Don) | 3500 | 40% | 4900
Countertops — quartz allowance | 5000 | 40% | 7000
Backsplash tile — allowance | 1200 | 40% | 1680
Appliances — range, hood, dishwasher, fridge allowance | 6000 | 40% | 8400
Appliance installation | 1200 | 40% | 1680
Plumbing — sink/connection | 1000 | 40% | 1400
Electrical — dedicated circuits | 800 | 40% | 1120
✦ OPTIONAL KITCHEN TOTAL | 32700 |  | 45780 | Add to contract if approved
★★ TOTAL IF KITCHEN APPROVED | 174454 |  | 242335
NOTES & ASSUMPTIONS
• Window count (18) and sliding door count (2) are estimates — verify at site visit before ordering
• LVP flooring ~1,900 SF excludes 7 bedrooms (~770 SF est.) and downstairs hallway per owner direction
• Flooring subfloor prep / leveling NOT included — assess separately at site visit
• Main drain line repair is TBD pending video camera — budget as Change Order on discovery
• Mold remediation is a minimum estimate — full scope depends on IEP / environmental test report
• All material allowances (tile, vanity, countertops, LVP, fixtures, appliances) are subject to client selections
• Permit fees are estimated — final costs vary by Buena Park building dept. and scope
• Payment terms: 30% deposit / 40% at midpoint / 30% completion
• Change orders require signed written approval before work proceeds
• Warranty: 1-year labor warranty; manufacturer warranties apply to all materials/fixtures
• This budget is confidential — client-facing documents show total price only (no cost/margin)